## Hydropower

A Handbook for Agency Staff

May 2003

© Environment Agency

All rights reserved. No part of this document may be reproduced, stored in a retrieval system, or transmitted, in any form or by any means, electronic, photocopying, recording or otherwise without  the prior permission of the Environment Agency

## Hydropower

A Handbook for Agency Staff

CONTENTS

WHO IS THIS HANDBOOK FOR? Click Here

1.	INTRODUCTION

  - Background and context

  - Agency position on hydropower

  - Dealing with a hydropower proposal

    - Response co-ordination

    - Advice & Support: the Agency’s “Water  Resources Helpdesk”

  - How to use this Handbook

2.	THE AGENCY’S DUTIES

3.	THE AGENCY'S POSITION ON HYDROPOWER

4.	AN OVERVIEW OF THE REGULATORY PROCESS

4.1.	Regulation by the Agency

4.2	Planning permissions

4.3	Land ownership, boundaries, etc.

4.4  	Safety

4.5 	Government initiatives for renewable energy

5.	ENVIRONMENTAL ASSESSMENTS

5.1.	Statutory requirement for EIAs

  - The EIA process

  - The Environmental Statement

  - The Environmental Report

6.          WATER RESOURCES CONSIDERATIONS

6.1.	Requirements  for abstraction and impounding licences

  - Safeguarding river flows

  - Costs and benefits

  - Acceptability of proposals and applicant’s reasonable requirements

  - “Self destruct” conditions

6.6	Works agreements

6.7	Flow information

  - Time limited licences

  - Agreements for derogation of hydropower abstractions

  - Measurement, monitoring and controls

6.10.1	Measurement of abstracted quantities

6.10.2	Residual flow measurement

6.10.3	Controls

  - Charges

  - Effects on Agency hydrometric installations

  - Use of large reservoirs for hydropower generation

6.13.1 Section 20 arrangements

- WATER QUALITY CONSIDERATIONS

7.1 	Areas of concern

7.2	Control and regulation

7.3 	The legal controls

7.3.1 	Section 85

7.3.2	Section 90

7.4 	Operation of controls in practice

7.4.1 	Biocides, etc.

7.4.2 	Maintenance

7.4.3 	Scour releases

7.5 	Further information

8.	FISHERIES CONSIDERATIONS

8.1 	Impacts on fish populations

8.2	Catchment diversion

8.3	Minimum flows

8.4 	Upstream fish passage

8.4.1	Fish passes for migratory salmonids

8.4.2	Fish passes for non-migratory trout, coarse fish and eels

8.4.3	Fish pass design

8.5	Downstream fish passage

    - Screening for migratory salmonids

    - Screen design

8.5.3	Screening for non-migratory trout, coarse fish, eel, lamprey and shad

8.5.4	Types of screen

- FLOOD DEFENCE CONSIDERATIONS

9.1	Design of hydropower works

9.1.1	Development within flood plain areas

9.1.2	Use of existing sites

9.1.3	New sites or modification to existing sites

- CONSERVATION CONSIDERATIONS

10.1	Likely environmental impacts

10.1.1	Low head schemes

10.1.2	High head schemes

10.1.3	Schemes located in environmentally sensitive areas

10.2	Mitigation

10.3	Surveys

10.3.1	General watercourse character

10.3.2	Flora

10.3.3	Vegetation and animal species and communities

    - Ditches and dykes

10.3.5 Trees

10.3.6	Invertebrates

10.3.7	Birds

10.3.8	Mammals

10.3.9	Amphibians and reptiles

10.3.10 Fish

10.4	Archaeology

10.5	Landscape

10.6	Monitoring

10.7	Consultees

- RECREATION CONSIDERATIONS

11.1	Angling

11.2	Public rights of way

11.3	Navigation

11.4	Local plans

11.5	Consultees

11.6	Monitoring

- APPENDIX A

Guidance to applicants on environmental information required

2.  GLOSSARY

WHO IS THIS HANDBOOK FOR?

Internal staff

This Handbook is primarily to help staff within the Environment Agency deal with hydropower proposals in a positive, consistent and efficient manner. A hydropower scheme may affect a number of the elements of river management; this guidance gives an overview of the potential issues for water resources, water quality, fisheries, flood defence, conservation and recreation. Legislation, policy and knowledge are changing constantly. If you are reading this in hard copy version please consult the Easinet for an up-to-date copy. Note that this document is available publicly and you should ensure that when you are dealing with a developer that he also has the latest version.

In addition to this guidance, there is now considerable experience within the Agency in assessing hydropower proposals. Although every site has its own characteristics, Agency staff are encouraged to share their experience and knowledge with colleagues.

External stakeholders

Although this Handbook is intended primarily to help the Agency’s own staff, it is available to developers and other interested parties. It should help to explain the breadth and complexity of the Agency’s statutory duties. It will also indicate the procedures which must be followed and the information which the Agency will need to carry out its assessment of a proposal.

Note that legislation, policy and knowledge are changing constantly. This version of the Handbook may not be entirely up-to-date. When you are in discussion with the Agency please ensure that you are both referring to the same version number of the document.

1.	INTRODUCTION

1.1	Background and context

In recent years, interest in the development of small-scale hydropower schemes has increased, largely in response to Government initiatives encouraging the greater use of renewable energy sources (for the purpose of this manual, the term “small-scale” applies to developments of less than 5 Megawatts generating capacity). Understandably, developers are eager to take best advantage of the opportunities offered by Government policy. This has resulted in increasing pressures upon the Agency and planning authorities, together the main regulators for hydropower proposals, to grant the necessary permissions, consents, and licences.

By their nature, hydropower proposals often require the Agency to balance the requirements of developers with protection of the environment. When dealing with applications for permissions, it is important that Agency staff adopt a consistent and fair approach, based upon a thorough knowledge and understanding of regulatory processes, the environmental issues to be considered and of the needs of hydropower developers.

In recognition of the increasing interest in small-scale hydropower, in 1994 the National Rivers Authority published “Hydropower – A Handbook for Agency Staff”. Since that time, there have been changes in the environmental legislation which impact upon hydropower amongst other uses. Furthermore, the responsibility for enforcing the legislation was transferred from the NRA to the Environment Agency on its creation under the Environment Act, 1995.  This revised and re-issued manual takes into account these changes and explains the Agency’s position on hydropower.

  - Agency position on hydropower

The Agency has a position statement and policy on hydropower which is reproduced in its entirety in Section 3 of this Handbook. There are three key policy statements which you should keep in mind when you read and apply the guidance in this document:

- The Environment Agency strongly supports the Government’s targets for the use of renewable energy.  It recognises the cumulative contribution which hydropower schemes can make to the reduction in the emissions of greenhouse gases and in achieving a sustainable, cost-effective climate change programme.

- The Agency recognises the potential benefits of small-scale hydropower to rural communities and in meeting local needs for power.  Where a proposed scheme is inappropriate for its location it will advise a prospective developer at as early a stage as possible.  However, the Agency will not unduly rely on the precautionary principle as an excuse for inaction.  It will take a positive view of reasonable and well designed proposals for hydropower schemes and will work with developers and others in attempting to agree a viable, sustainable project.

- The Agency seeks to work constructively with the hydropower industry in achieving the aspirations of Government, the Agency and the industry.

  - Dealing with a hydropower proposal

    - Response co-ordination

A potential developer may approach the Agency with his proposal by any one of a number of routes. It may be through a regional or area office, through customer services or water resources or fisheries.  The proposal itself is likely to require consideration by a number of different Agency staff in different teams.

It is frustrating for the developer, and reflects badly upon the Agency, if he is pushed from one member of staff to another and cannot see that his scheme is being treated professionally. When you receive a proposal there are a number of steps which you should take to make the process run more smoothly:

- identify a single point of contact for the developer to act as a focus;

- deal with the scheme as a project with the focus co-ordinating, and being responsible for, communication between the developer and the Agency;

- ensure that you involve all relevant colleagues early;

- if you have not had previous experience of hydropower schemes it may be prudent to take advice from your Area colleagues who have been involved in these type of schemes before proceeding. This will help you; ensure a more consistent approach across the Agency and provide hydropower developers with a consistent message and timely response.

    - Advice & Support: the Agency’s “Water Resources Helpdesk”

In order to make best use of the Agency’s experience of hydropower you should initially contact your Area WR Regulatory Team Leader or Area Technical Specialist for advice. They in turn will contact the WRhelpdesk for further advice / support, if required. The WRhelpdesk have access to a network of staff from a range of disciplines who have dealt with low or high head schemes. The staff are happy to pass on their experience, which generally has involved working with the developer to achieve a completed installations.

The WRhelpdesk will provide advice by telephone or email and, by networking, will ensure that you are familiar with developments inside and outside the Agency which might affect our stance.

  - How to use this Handbook

Small-scale hydropower includes schemes up to 5MW capacity. There is a world of difference, however, between a domestic low head micro-hydro installation of 20KW, commercial high and low head schemes of several hundred Kilowatts and low head or reservoir schemes of several Megawatts (thousands of Kilowatts). Clearly, you will need to be selective and thoughtful in applying the guidance in this Handbook to the proposal you are dealing with. Take advice from the WRhelpdesk as to what would be appropriate for your circumstances.

Comments on this Handbook may be fed back through the WRhelpdesk via your Area Regulatory Team Leader / Technical Specialist. If you are using it in hard copy version, check the Easinet for any amendments. If the developer also has a copy ensure that his is also up-to-date.

2.	THE AGENCY’S DUTIES

In relation to water management, the Agency is responsible for making sure that any proposal which may affect waters in England and Wales is satisfactory.  This means assessing the impact of the proposal on the environment and other water users, and making sure that the development is designed so that its construction and operation is acceptable.

The main statutes relating to the Agency’s regulation of hydropower are the Water Resources Act 1991 (WRA91) and the Environment Act 1995 (EA95).  These impose a range of aims and duties upon the Agency.

The Agency has a wide remit, as set out in the EA95, as follows:-

Section 4 states it shall be the principal aim of the Agency, in discharging its functions so as to protect or enhance the environment, taken as a whole, as to make a contribution toward achieving sustainable development.

Section 6(1)  requires the Agency to generally promote, to such an extent as it considers desirable:

- the conservation and enhancement of the natural beauty and amenity of inland and coastal waters and of land associated with such waters;

- the conservation of flora and fauna which are dependent on an aquatic environment;

- the use of such waters and land for recreational purposes.

The Agency also has specific legal obligations when dealing with applications for consents and licences:-

Section 7 states it shall be a duty of the Agency in formulating or considering any proposals relating to any function to:

- exercise its powers to further the conservation and enhancement of natural beauty and of conserving flora, fauna and geological or physiographical features of special interest;

- have regard to the desirability of protecting and conserving buildings, sites and objects of archaeological, architectural, engineering or historic interest;

- take into account any effect on the beauty or amenity of any rural or urban area or on such flora, fauna, buildings, sites or objects;

- have regard to any effect on the economic and social well being of local communities in rural areas.

Section 9 permits the drawing up of a Code of Practice – one has recently been updated and the Agency refers to this in regard to specific matters relating to conservation and recreation.

The Agency’s water resources duties are contained in Section 6(2) Environment Act 1995 and require the Agency to take "all such action as it may consider ... necessary or expedient" for the purpose of conserving, redistributing or otherwise augmenting water resources and securing the proper use of water resources.

Provisions in the WRA91 include:-

A duty under Section 20 to make arrangements with water undertakers for securing the proper management or operation of waters, reservoirs, apparatus or other works used by water undertakers.

The points set out in Sections 38 to 40 which the Agency must consider when granting impounding and abstraction licences. These include the reasonableness of the applicant's requirements, representations from the public, the possibility of derogation, the requirements of existing lawful users i.e. agriculture, industry, water supply or other purposes, and effects on water flows.  In essence, these must provide enough water of adequate quality to safeguard public health, to meet the requirements of existing lawful users (including agriculture, industry, water supply or other purposes), and the requirements of navigation, fisheries and land drainage.

Duties in other legislation relevant to regulation of hydropower developments by the Agency are:-

- to achieve water quality objectives;

- to have regard to the interests of fisheries, including sea fisheries;

- to exercise a general supervision over all matters relating to flood defence, and in relation to main rivers act as the consenting authority for the erection of structures in, over or under a main river;

- duties in relation to some watercourses as a navigation, harbour or conservancy authority;

- to have regard to the Conservation (Natural Habitats etc.) Regulations 1994 which impose certain requirements in relation to effects upon Special Protection Areas under the Birds Directive and Special Areas of Conservation under the Habitats Directive. Wildlife and Countryside Act (1981), as amended by the Countryside and rights of Way Act.

For further details of procedures relating to the Habitats Directive refer to:-

“Habitats Directive Standard Chapter 3. Application of Procedures to Agency Permissions and Activities” and other relevant guidance available in Solutions/Habitats Documentation on the Intranet.

Hydropower developments may be proposed in areas of special nature conservation interest where the Agency will need to take into account the views of English Nature or the Countryside Council for Wales, as appropriate.  In addition, most developments will require planning consent and EIA.

The breadth of this remit can appear daunting to a developer. Ensure that you concentrate on those matters which are important and relevant to the proposal and that you apply the legislation in a way which is appropriate to the nature, scale and potential impact of the proposed scheme.

3. 	THE  AGENCY’S  POSITION ON HYDROPOWER

The Agency has an approved (June 2000) position statement and policy on hydropower. It summarises many of the issues which this Handbook covers in more detail and provides a useful overview of the Agency’s position with regards to hydropower proposals.

## SMALL-SCALE HYDROPOWER

ENVIRONMENT AGENCY POSITION STATEMENT

- INTRODUCTION

  - This paper sets out the current Environment Agency position regarding small-scale hydropower.  The term “small-scale” applies to developments of less (generally much less) than 5 Megawatts generating capacity.  These include both low head and high head schemes.  The former typically comprise lowland sites where a large volume of flow is diverted at an existing weir and through a turbine.  High head schemes, by contrast, utilise smaller flows (but often a substantial proportion of the available river flow) at upland sites, diverting water typically over perhaps several hundred metres or more and taking advantage of the difference in height over that distance.  Turbines may also be installed in water supply reservoirs to take advantage of compensation water or other releases.

  - Although there are a number of significant differences between the two main types of small-scale hydropower there are sufficient similarities for them both to be considered in this note.  It is not intended to be an exhaustive consideration of hydropower issues, but aims to set out the Agency’s position and policy regarding hydropower developments.

- REGULATORY BACKGROUND

  - The Environment Agency is governed by a range of legislation; the main statutes which impinge upon its regulation of hydropower are the Water Resources Act 1991 and the Environment Act 1995.  These impose a range of duties upon the Agency.

  - Hydropower developments may be proposed in areas of special nature conservation interest where the Agency will need to take into account the views of English Nature or the Countryside Council for Wales, as appropriate.  In addition, most developments will require planning consent.

  - Against this regulatory framework the Government has given a commitment to reduce the UK emissions of greenhouse gases and to have 10% of the UK’s electricity produced from renewable sources by the year 2010.  Although the Agency has no remit to promote hydropower it must be mindful of its wider environmental benefits in applying its regulatory powers.

- HYDROPOWER AND THE AGENCY’S DUTIES

  - Hydropower operations may have a significant local impact on the river environment.  The critical element is the volume of flow abstracted and the effect of  that loss to the deprived reach.  In some cases, water is transferred out of the catchment.

The impact may be on fisheries and the aquatic ecology, on water quality where discharges are present, on other abstractors and lawful users of water, or on flood defence and land drainage.

  - The issues associated with a hydropower scheme will vary according to the nature of the scheme itself and the site-specific elements listed in 3.1 above.  The Agency will shortly be producing guidelines for its staff in dealing with hydropower proposals.  These will also be made available to prospective developers so that they may better understand the breadth and complexity of the Agency’s statutory duty and its policy towards hydropower.

The British Hydropower Association is also considering the production of guidance for developers and it is the aim of both the Agency and BHA that the two documents should, so far as is possible, be complementary.

- ENVIRONMENT AGENCY POSITION ON HYDROPOWER

  - The complexities of the legislation and the breadth of the Agency’s remit can be daunting for a potential developer.  Coupled with local authority planning requirements, particularly for sensitive sites in National Parks or other locations of high amenity or conservation value, they may represent an apparently insuperable bureaucratic obstacle.

  - The Environment Agency recognises this, and for hydropower schemes, as with all other abstraction proposals, it will :-

- endeavour to work closely with planning authorities and conservation organisations in order to try and prevent conflicts or duplication between the regulators.

- approach well-thought out proposals with a positive attitude and work constructively with the developer with the aim of achieving a sustainable, viable scheme.

- seek to protect and improve the environment.

  - These aspirations will only be met if developers recognise that they in turn must:-

- approach the Agency and others at an early stage and maintain a dialogue with them

- respect the fact that the Agency cannot compromise its statutory duties

- maintain a flexible approach to the proposed scheme in respect of measures to mitigate its impact, even where this may be at the expense of some generating capacity.

  - When the Agency considers applications for abstraction licences it has a number of duties which it is statutorily obliged to take into account.  Hydropower schemes are subject to the same statutory framework as other abstractions.  However, the volumes involved with hydropower mean that its local impact may be significant between the points of abstraction and discharge.  The key issues for the Agency are likely to mean that :-

- an assessment of the environmental impact will be required

- the Agency must be satisfied that a proposed hydropower scheme does not prejudice its statutory duties in respect of water resources, flood defence, water quality, fisheries and conservation

- screening of the intake and outfall may be needed, and in certain circumstances a fish pass also

- an impounding licence and land drainage consent may be required as well as an abstraction licence

- reliable, direct measurement  and control of the abstracted volumes will be required

- scheme design must be robust and fail-safe, so that in the event of a problem the river is not prejudiced

- the Agency will need to agree a volume by which the hydropower authorised volumes may be derogated, in order to safeguard future upstream water resource management

- where the potential impact is uncertain the Agency may require environmental monitoring in order to inform its re-determination when the time-limited licence expires.

- abstraction licences will be time limited in accordance with the Agency’s policy

- abstraction will be restricted (and must be controlled) so as to protect low flows and also the variability of the flow regime where this is important to the local fishery or ecology.

  - Set against any adverse local impacts, the Agency will also balance :-

- the local benefits to the river which a responsibly operated small-scale hydropower scheme can bring.  These may include :-

- removal of debris

- increased oxygenation

- operation of sluices to minimise flood risk

- restoration of the built heritage

- the benefits to rural communities in terms of employment, income, and as a source of cheap energy

- the global benefits which renewable energy sources make to the reduction in greenhouse gas emissions.  Although the contribution of an individual scheme may be small, the cumulative effect if more schemes were constructed could make a useful contribution to the UK targets for renewable energy production.

5.0	CONCLUSIONS AND POLICY STATEMENTS

5.1	The Environment Agency strongly supports the Government’s targets for the use of renewable energy.  It recognises the cumulative contribution which hydropower schemes can make to the reduction in the emissions of greenhouse gases and in achieving a sustainable, cost-effective climate change programme.

5.2	The Agency recognises the potential benefits of small-scale hydropower to rural communities and in meeting local needs for power.  Where a proposed scheme is inappropriate for its location it will advise a prospective developer at as early a stage as possible.  However, the Agency will not unduly rely on the precautionary principle as an excuse for inaction.  It will take a positive view of reasonable and well designed proposals for hydropower schemes and will work with developers and others in attempting to agree a viable, sustainable project.

5.3	The Agency seeks to work constructively with the hydropower industry in achieving the aspirations of Government, the Agency and the industry.

DR GEOFF MANCE

Director of Water Management

4.	AN OVERVIEW OF REGULATORY PROCESSES

4.1	Regulation by the Agency

The effects of hydropower proposals can be far reaching, and they usually cut across the responsibilities of most of the Agency's functions. These are summarised below and are described in more detail in the Chapters referred to.

The water resources (Chapter 6) function controls impoundments and abstractions, and a licence for one or both is likely to be involved in a hydropower scheme.  These licences, and works agreements associated with them, provide core control. This is not only on the use of water itself, but also in the design and operation of measures to avoid water quality, conservation and other problems which are primarily the concern of other Agency functions.

Impacts of hydropower on water quality (Chapter 7) vary.  Sometimes, hydropower will result in improved oxygenation and so have a beneficial impact on water quality. However, reduced and/or altered flows may have adverse effects arising from inadequate dilution of effluents, while substances used in the operation or maintenance of the hydropower works may pollute the water and require the consent of the Agency for their use

Hydropower can have a serious effect on fisheries (Chapter 8) as installations can act as a barrier to fish movements and can kill fish passing through the turbines. The habitat supporting fish, invertebrates, mammals and flora can be damaged and this could lead to effects on protected species.

The Agency's flood defence (Chapter 9) function is concerned about hydropower schemes from the point of view of their possible effects on land drainage and flood defence.  Depending on its nature the scheme may require a separate consent from flood defence.

The conservation (Chapter 10) of the natural environment is likely to be a key issue and an assessment of a scheme’s impact, and measures to mitigate it, are likely to be necessary.

In terms of recreational (Chapter 11) interests, angling and canoeing are two sports among many that can be adversely affected by a scheme. In some circumstances navigation may be affected.

4.2	Planning permission

Planning permission may be required for the development.  This, and related procedures (such as building regulation approval), is the responsibility of the local planning authority. As discussed below, the requirements of the planning authority may play an important role in achieving satisfactory overall environmental control. The planning authority may also be the authority formally requiring the developer to carry out an environmental  impact assessment.

Some planning authorities may adopt a policy whereby planning permission will not be granted until the necessary Agency permissions have been granted.

Conversely, the Agency may not grant an abstraction licence until the developer has obtained planning permission, thereby demonstrating a reasonable need for water. This stance may be effective if the development involves works  which could adversely affect the environment, and are best controlled under planning legislation, rather than directly by the Agency, e.g. the impact of the construction of a pipeline on an environmentally important site.

It is therefore important for Agency staff to liaise closely with the planning authority at an early stage of the development process. In these early stages it is good practice to:

- arrange a meeting with the developers and the planning authority, preferably on site;

- ensure that a list of Agency concerns is given both to the planning authority and to the developer;

- obtain from the planning authority a full understanding of their requirements in so far as they may relate to Agency regulation, e.g. visual amenity of water related features;

- agree the scope of environmental impact assessments required to satisfy both the needs of the Agency and planning authority.

The earlier this happens, the easier it will be for the developer to design a scheme to overcome any outstanding concerns. If there is no satisfactory solution, the developer can then pull out with the loss of a smaller investment than might otherwise be the case.

Full liaison with planning authorities will also help to reduce the risk of inconsistencies between the conditions of planning and Agency permissions

4.3	Land ownership, boundaries, etc.

The developer will need to make arrangements for whatever land ownership, access arrangements etc, the project requires.  Watercourses often form property boundaries and ownership of banks and structures may be complex.

Special permissions may be required for building on common land, in the region of a scheduled ancient monument or in SSSIs, etc.  Developments in national parks will require the involvement of the National Park authority in question.

4.4	Safety

Design and operating arrangements for the project will have to comply with the Health and Safety at Work Act 1974, and the Electricity at Work Regulations 1989.

When a large reservoir (>25,000 m3) is involved, which in practice will be rare for smaller scale hydropower developments, the developer must comply with the provisions of the Reservoirs Act 1975, including design by an engineer authorised under the Act. County councils are currently the responsible authorities for regulating these requirements.

4.5	Government initiatives for renewable energy

Under the provisions of the Electricity Act 1989, the Government  requires  public electricity suppliers in England and Wales to secure a specified amount of generating capacity by non-fossil fuel means, including hydropower. This Non-Fossil Fuel Obligation (NFFO) has resulted in awards of contracts of up to 15 years duration, to develop sites in a series of tranches, ranging from NFFO1 to NFFO5. Accordingly, many of the hydropower sites developed in recent years have NFFO contracts. However, many sites with NFFO contracts  have proved not to be viable for planning, physical or licensing reasons and remain undeveloped.

In March 1999 the Government issued a consultation paper entitled “New and Renewable Energy: Prospects for the 21st. Century” seeking views on future ways in which renewable energy may be supported. As a result, the Government has moved towards a Renewables Obligation which is part of the Climate Change Programme to meet targets in reduced greenhouse gas emissions. At this early stage, it is uncertain how this might translate into increased demand for hydropower.

5.	ENVIRONMENTAL IMPACT ASSESSMENTS

The wide-ranging potential impact of a hydropower development upon the environment requires that a systematic assessment be carried out to determine whether the scheme is acceptable and/or what design changes or mitigation measures are required to safeguard environmental interests. The importance of thorough and thoughtful environmental impact assessment (EIA) cannot be over-emphasised. In many cases there may be a statutory requirement for a formal EIA for hydropower developments (see below). Whether or not a statutory EIA is required, the benefits of EIAs for hydropower proposals are well established by past experience. Properly done, it works for the benefit of both the developer and the environment.  In particular, it enables potential problems with a proposed development to be identified at an early stage. A key point is to encourage developers to regard an EIA as an essential step in the decision making process. It can also act as a useful vehicle for consultation between the developer, the regulators, and the public.

5.1	Statutory Requirement for EIAs

Most hydropower schemes producing more than 0.5 megawatts, fall into Schedule 2 of the Town and Country Planning (Environmental Impact Assessment) (England and Wales) Regulations 1999 (SI 1999/293), i.e. Section 3 Energy Industry (h) Installations for hydroelectric energy production. Under these regulations there is a need for a statutory EIA (i.e. production of an Environmental Statement) subject to the discretion of the local planning authority (LPA).

Any proposal involving dams or non-impounding reservoirs exceeding 10 million cubic metres in capacity, fall under Schedule 1 of SI 1999/293, under which an Environmental Statement is mandatory.

The EIA process under SI 1999/293 is administered and regulated by the LPA, and the developer would primarily liase with them. The Agency is a statutory consultee in this process, but although it can make representations and provide comments for the consideration of the LPA, its authority in the process is limited. The Agency would be contacted by the LPA, rather than the developer, on matters regarding the EIA, although the developer may liase informally with the Agency. The final acceptance of the EIA and planning consent rests with the LPA.

In addition to the above regulations, the construction and extension of power stations exceeding 50 megawatts, and the installation of overhead power lines require consent from the Secretary of State for Trade and Industry, under the Electricity Act 1989. The requirement for EIA is part of the procedure for applications under these provisions, although again for hydropower schemes the need for a formal EIA is likely to be discretionary rather than mandatory. The Department of Trade and Industry (DTI) is the regulatory body in this case, with the Agency again a statutory consultee without any direct authority.

5.2	The EIA process

For statutory EIAs, the overall process and responsibilities are defined in SI 1999/293 and developers will need to comply with these. Under current procedures, the Agency’s input to the formal process for statutory EIAs is handled through Planning Liaison, with advice from the EIA Co-ordinator/EIA Officer as appropriate.

The Agency's formal role where an SI 1999/293 EIA is involved is as follows:-

- commenting to the LPA on the scope of an Environmental Statement (ES)

- making available information to the developer to assist in the preparation of an ES

- reviewing the final ES report and making representations/recommendations for further information gathering, via the LPA.

In practice, there is likely to be a period of informal consultation and discussions between the developer and Agency staff in advance of the statutory process. At this stage, the various consenting authorities (i.e. the LPA and various functions within the Agency) should make it quite clear to the hydropower developer what they require to be covered by the assessment. This will ensure that the process runs smoothly and efficiently and will avoid duplication of effort.

In the early stages the developer is likely to be looking for the best options from an economic and technical point of view, whilst the Agency's job is to add environmental balance to ensure that an suitable proposal is agreed.  This is a very important stage for Agency input. Advice can be given to the developer on what (if anything) may be acceptable. Failure to do so may make it very difficult for the Agency to influence the development at a later stage.

In recommending the scope of the EIA, and the level of detail required to cover Agency concerns, consider it carefully in the context of the scale of the proposal and with regards to the sensitivity of its location. Ask for no more than you reasonably need to determine the authorisation(s) for the scheme. EIA is expensive; it should concentrate on those matters which are strictly relevant.

If you are uncertain, contact you Regional EIA Co-ordinator for advice on the best approach, and/or seek advice from your WR Regulatory Team Leader / Technical Specialist, who may have experience that would be helpful.

There are many publications which give advice on techniques and best practice. The following Agency guidance is particularly relevant:-

'Environmental Impact Assessment: Scoping Handbook for Projects' and 'Environmental Impact Assessment Scoping Guidance Notes' - the latter contains a specific note on the environmental considerations likely to apply to hydroelectric power developments.

'Environmental Impact Assessment Guidance for Planning Liaison' - provides up to date guidance on how the Agency should respond to consultations on external EIAs.

In addition, the publication ‘Environmental Impact Assessment’ (DETR, 2000) gives extremely useful advice on the principles of EIA and gives a definitive summary of the procedures and content to be followed for EIAs under SI 1999 293.

5.3	The Environmental Statement (ES)

The format and content of an ES is set out in the EIA regulations. By providing recommendations to the LDA on the scope of the EIA, the Agency is in a position to exert influence on the degree of consideration give to specific issues in the ES and thereby ensure that particular concerns are adequately identified and mitigated through the EIA process.

5.4	The Environmental Report

In the absence of the requirement for a formal Environmental Statement, an Environmental Report may be required from the developer to support applications for Agency permissions. Section A of the Appendix contains current Agency guidance on this topic in relation to hydropower developments.  Note that this will be updated from time to time, for example when the Water Resources EIA Regulations are implemented, and one should check for the current version.

6.	WATER RESOURCES CONSIDERATIONS

Hydropower needs water in large quantities, so the water resources function is often the first "port of call" in the Agency for enquiries about hydropower developments.  Schemes vary widely, but they usually affect water resources management and will normally require licensing.  Developments normally fall into the category of either “low head” or “high head” schemes.  The former types are typically installed at lowland existing weir or mill structures where a large volume of flow is passed through a turbine. At many such sites, water passes from immediately upstream of the structure to a point immediately downstream. These schemes can impact the interest of users of the structures, such as navigation, and those interests which rely upon a flow over or through the structure, e.g. for fish movement or visual amenity. However there can also be significant effects on the flow patterns downstream, with potential for significant perturbations in flow for large impounding structures. High head schemes, by contrast, utilise smaller flows (but often a substantial proportion of the available river, particularly at times of low flows) at upland sites. They divert water typically into high pressure penstocks, which can extend over significant distances and take advantage of the difference in head over that distance.  Such schemes can have a major impact upon the flow regime of the deprived river between the abstraction and return points. A similar impact may also be of concern at some lowland sites if flows are diverted from the main watercourse into side channels, for example old mill leats, to obtain the necessary generating head. . Turbines may also be installed in water supply reservoirs to take advantage of compensation water or other releases.

The detailed guidance on all matters relating to water resources licensing contained in the Agency’s Licensing Manual may be applied as appropriate to hydropower installations. This Handbook concentrates on particular hydropower-related issues, which are discussed in the following sections.

6.1	Requirements for abstraction and impounding licences

The requirement for licences under the Water Resources Act for hydropower schemes will be determined by the configuration of the installation and any associated channels for diverting water to the turbine or wheel.

Installation of a hydropower device achieved by the construction or alteration of any work that obstructs or impedes the flow of a river will require an impounding licence. Most schemes for development of lowland small scale hydropower are associated with existing structures, where alterations are required to install the turbine and provide the necessary controls. An impounding licence is therefore likely to be a requirement of virtually all such schemes. In some cases an agreement under s158 WRA91 may also be required (see below), depending on the degree of potential impact and the need to ensure ongoing control.

Provided that the flow of water to operate the turbine is through the structure, such schemes are not regarded as abstractions, do not enjoy protected rights status, but will be a lawful use of water to be taken into account when considering other licensable developments upstream.

Where water is diverted in a controlled manner around an impounding structure and away from the main line of flow of the river, e.g. via a mill leat on lowland schemes or to a penstock for high head schemes, an abstraction licence will also be required.

Hydraulic pumps, such as hydrams or pappa pumps are particular applications of hydropower development designed abstract a proportion of the river water for local supply, typically for agricultural use. An abstraction licence will be required for such abstraction, unless an exemption, e,g, riparian agricultural use < 20m3/d, applies. Whether a licence is required for the power generation component of the installation will depend upon the configuration. Removal of water from the source of supply, e.g. via a drive pipe to feed the hydram is likely to constitute an abstraction. Installations that are situated entirely within the supplying river or stream are unlikely to constitute an abstraction, but consideration will need to be given to whether the device constitutes an impounding.

The guidance given below generally applies to applications for new licences and variations to existing licences, e.g. to increase licensed quantities. If in doubt, please seek advice from your local water resources licensing team at the nearest Environment Agency office regarding the requirement for licences.

6.2	Safeguarding river flows

Hydropower developments do not normally involve a net loss of water to a catchment. However, they do have the potential to have a major impact upon the flow regime of a river, whether due to the flow control exerted by the impounding controls or because of flow deprivation between the abstraction and return points. Therefore, the consideration of the need for licence conditions to safeguard river flows is an essential aspect of the licence determination process. In some cases the requirement will be to safeguard flows for amenity or visual reasons, or to ensure the passage of both upstream and downstream migrating fish. In sensitive areas, ecological protection of the deprived reach will be a primary consideration.  The requirements of any existing protected rights of abstractors also need to be taken into account. The impact of prolonged reductions in flow in sensitive locations will require careful consideration and the precautionary approach should be adopted.

Historically, flows have been protected by means of a single prescribed flow condition on a licence. However, it is now recognised that this approach may result in a severe impact upon the aquatic environment by prolonged periods of low flows, a particular risk with hydropower schemes involving diversion of flow from the main stream or river. Therefore, in addition to safeguarding a low flow, it is important to provide for adequate flow variability in the deprived reach of  watercourse. At sites involving the transfer of flows between multiple channels, it may be necessary to ensure that a small flow is also maintained at all times in side channels and leats, so as to avoid stagnation.

The methodologies used by the Agency to assess river flow requirements are under constant development. They should be applied to hydropower developments in accordance with accepted national practice at the time.

6.3	Costs and benefits

In carrying out its regulatory powers, the Agency is required to take into account likely costs and benefits of the applicant’s proposals. This must include the costs to the developer, society and the environment. Where practical and reasonable, the Agency will seek to achieve environmental gain in association with the development.  For hydropower, the environmental cost may arise from the physical impact of the hydropower structure and from the abstraction of water from the watercourse. Benefits could include any local benefits to the river, to rural communities and the benefits of renewable energy.

6.4	Acceptability of proposals and applicant's reasonable requirements

In designing the installation and seeking the necessary licences, the applicant will be primarily concerned with the economic viability of the project. There are a number of guiding principles that the developer is likely to follow in designing the installation and, where necessary, assessing requirements for abstraction quantities, including:

- to maximise revenue;

- to maximise plant capacity;

- to minimise payback period;

- to maximise summer abstracted volumes.

In determining an application for an abstraction licence, the Agency must have regard to the reasonable requirements of the applicant. Deciding how to assess these requirements will depend upon site specific details and each case must be determined on its own merits, the question being "are the applicant's requirements for water as applied for reasonable, considering the information provided by the applicant and the hydraulic characteristics of the generation site?”

In assessing reasonable requirements, the Agency's will also consider the prospects for the scheme, including:

- where the scheme involves a NFFO, Renewables Obligation or other electricity generation contract, the contract should have been agreed before the licence is granted. In other cases, the developer should demonstrate that there is a realistic chance of the scheme being commissioned.

- All necessary rights of access, ability to lay pipes across land etc. (easements) should be in place, or will need to be in place by the time the licence is issued. The developer should provide proof of this, with copies of relevant legal documents, as appropriate. Conditions may be included within the licence to the effect that if any necessary rights are not obtained in a stated period then the licence will lapse.

6.5	“Self destruct” conditions

Applications for licences in respect of schemes, which cannot be developed in the foreseeable future, should normally be refused, on the basis that the applicant has no reasonable requirement for the water.  However, it may be necessary under some circumstances to grant a licence in advance of having full certainty that the development will proceed. To avoid improperly tying up resources in such cases, the recommended approach is to issue a licence, but subject to a “self destruct” condition, which would terminate the licence if no abstraction takes place within a specified time period.

6.6	Works agreements

Hydropower developments can exercise significant control over the flow regime of a river.  This may be due to the operation of sluices, weir construction, sudden closure of turbines etc.  Many of these influences will occur, or will have consequences, when hydropower generation is not taking place and after the completion of construction of  impounding works. As such, they may not be controllable under the condition on an abstraction or impoundment licence. In such situations, an agreement under Section 158 WRA 1991 is a means to ensure control by the Agency in order to protect environmental and other interests.

Section 158 agreements may be entered into with the owner or occupier of any land with respect to:-

- the manner in which a reservoir is operated;

- the carrying out and maintenance of additional works which may be required by the Agency.

However, if there are no additional works, i.e. additional to those normally installed/constructed by the licence holder and/or a reservoir is not involved, Section 158 may not be used to effect an agreement.  Additional works in the case of an on-stream reservoir might be, for example, a bypass pipe to ensure minimum flows are maintained downstream at all times, or the installation of a measuring weir.  For the purposes of this manual, the meaning of ‘reservoir’ includes that area of water in a watercourse artificially raised as a result of a weir. The agreement can also include controls at any time, not only when generation is taking place.

For impoundments, the conditions in the impounding licence must relate to the construction of the impounding works and the safeguards that need to be employed during construction and filling. The agreement will deal with the subsequent maintenance and operation of the works.

For abstractions, any works or method of operation outside the period when abstraction is actually taking place must be in a Section 158 agreement. All conditions relating to the operation of the abstraction during the period when water is being abstracted should go in the licence.

There should be a clear distinction between licence conditions, i.e. conditions directly affecting the operation of the licence and agreement conditions that are incidental and not directly related to the operation of the licence.  There is a tendency, where an agreement is identified as being necessary; to include in that agreement conditions which should go in a licence, often for reasons of convenience/completeness.  This may eventually lead to enforcement and other legal difficulties and should be avoided.

Points that may be covered in Section 158 agreements include (this list is not

exhaustive):

- details of reservoir and impounding works ownership, maintenance, replacement, refurbishment, and operation in normal and emergency situations;

- obligations for emptying and filling of reservoir, release and discharge requirements, maintenance of flows, extent of drawdown permitted, rate of recovery in storage pound.

- measures to avoid scour;

- indemnification of the Agency against claims by third parties;

- the Agency's default powers;

- obligations on decommissioning i.e. removal of works, reinstatement etc.;

- relationship between the Section 158 agreement and grant of the licence (and revocation).

The agreement should be registered as a land charge, which ensures that its provisions are enforceable against any person owning the works.  This is particularly important in the case of impounding licences, where there is no provision for licence succession.

For further guidance on Section 158 agreements, see Chapter 8 of the Licensing Manual.

6.7	Flow information

The assessment of the flow regime at a potential hydropower site is of course of key importance, both to the developer in terms of assessing generating capacity and to the Agency in ensuring the protection of the water environment.

The responsibility to provide this information lies primarily with the developer. However, the Agency should make available to the developer any relevant flow data or hydrological flow assessments in its possession. An early appreciation of the flow regime at the site and the scope of and need for possible further data gathering requirements by the developer are to the mutual advantage of all parties concerned. The Agency has a role of auditing the data and any assumptions derived from it and may carry out check measurements.

6.8	Time limited licences

The requirement for a time limit for an abstraction licence and its duration will be in line with the Agency’s current policy, which you should explain to the developer, including the presumption of renewal.

6.9	Agreements for derogation of hydropower abstractions

By their nature, hydropower schemes can involve the abstraction of large quantities of water compared with the flow regime, although there is generally no overall loss to catchment resources. A hydropower scheme that involves an abstraction licence will attract protected rights that may severely constrain the Agency’s ability to grant licences upstream. The Agency is prohibited from granting licences which derogate from protected rights, unless the holder of those rights gives consent. (Section 39). This may conflict with the Agency’s duty to secure the proper use of water resources.

The recommended method of mitigation in this situation is to reach agreement with the developer about the total quantity of water which the Agency may license to be abstracted from the upstream catchment, without the developer making any claim against the Agency for derogation of their protected right.

This should be by way of a memorandum of understanding (MoU) and should be obtained prior to the determination of the licence application.  The MoU should be referred to in the NOTES section at the back of the licence document.

There are no special forms for the MoU to document the agreed quantity which the Agency may “reserve” for future upstream licences.  Any agreement (MoU) which is reached should be confirmed in writing by exchange of letters with the developer.  The letters should then be kept safely with the licence document.

Note that this agreement with the developer has no legal standing;  it is simply a memorandum of understanding (MoU).  This is because the law does not provide for the Agency to seek a general consent to be derogated in advance of new applications being made; a consent to be derogated must be obtained during the process of determination of any the new application.

So, even where you have a MoU with a hydropower developer, it will still be necessary for you to investigate the likely effects the new application will have on the hydropower scheme (as well as on others).  You should document your findings in the determination report for that new, upstream licence.  Where you judge that there could be minor or limited  derogation, but it would be within the terms of the MoU, you should write to the Hydropower licence holder, explaining why you consider the proposal before you will not prevent him from abstracting in accordance with his licensed rights.  You should seek a positive response from the hydropower licence holder, - i.e. obtain his specific consent to derogation.  This is what we are required to do under section 39.

The quantity agreed for derogation will depend upon the following factors:

- the location of the hydropower site within the catchment;

- the nature of the upstream catchment and the potential for increased future demands for abstractions;

- the period of the time limit for the hydropower licence.

Usually it should be possible to achieve agreement without difficulty.  The volume reserved for future licensing is likely to be small compared with the total volume requirements of the hydropower scheme.  Thus any reserved quantity will probably have little impact on the scheme's viability.  For some remote upland developments any further significant upstream resource requirements may be unlikely and there will be no necessity for an agreement. The quantity may be expressed as a total amount, or as a percentage of the quantity authorised by the hydropower licence.

6.10	Measurement, monitoring and controls

It is essential for the Agency to be satisfied that the proposed hydropower scheme will incorporate effective controls and suitable instrumentation for measurement and recording, e.g. of abstracted quantities and residual river flows. Requirements should be discussed with the developer at an early stage, based upon the detailed drawings of the installation which will be need to be submitted with the licence application.

6.10.1	Measurement of abstracted quantities

Where an abstraction licence is required, the hydropower installation must incorporate a satisfactory means of measurement and recording of quantities of water abstracted.  If practical, direct measurement by flow meters at or near to the point of abstraction is the preferred method. In this respect, hydropower installation usually fall into one of two categories, i.e. high-head sites where metering in pipelines is possible, or low-head sites such as weirs and mill leats, where it may be necessary to use open channel methods.

Experience has shown that electromagnetic flowmeters are the most suitable for the lower range of pipe sizes. These have the advantage of not reducing the head available for generation.  For larger pipelines, insertion probe meters are effective and more economical.

Indirect measurement based upon the characteristics and power generated by turbines is generally less satisfactory because it cannot take account of quantities of water abstracted when generation is not taking place, e.g. for test purposes. Also, there is no readily available means of checking that the characteristics of the turbine remain constant. Meters should normally be installed at the upstream end of pipelines. In this way, any leakage in the pipeline will still be measured.

However for some sites, alternative methods may be preferred. Pipeline flow meters may not be suitable for low head installations, which often have large open intake and discharge channels. Turbines installed in mill leats and similar channels with long slack gradients can also present flow measurement difficulties. In these cases the most effective methods may be open channel flow measuring techniques in accordance with BS3680, and/or assessment of the hydraulic characteristics of the site and the performance characteristics of the turbine.  The developer will need to provide information about the turbine as well as satisfactory calibration data for the site.  Instruments to record turbine running times and changes in head will also be necessary.

The developer must install all measuring and recording devices in accordance with the manufacturer's specifications, or relevant British Standard.

For further guidance on meter installations refer to the Agency’s “Abstraction Metering Good Practice Manual” or seek hydrometric advice in respect of open channel methods. In all cases,  the measurement requirements should be appropriate to the location and circumstances of the scheme.

6.10.2	Residual flow measurement

There will frequently be a residual flow condition on the licence, particularly where this is important to the operation of the scheme and protection of the environment.  The developer must provide full details of the proposed measurement and intake structures together with calibration calculations for the measuring device.

The Agency will specify that the measuring device should be installed in accordance with BS.3680, Flow Measurement in Open Channels. If, due to the physical limitations of the site, the installation of a British Standard structure is impossible, a satisfactory alternative design must be agreed. There must be suitable means of indicating and/or recording the residual flow.  An external gauge board or similar indicator should be in place so that the flow can be checked without access to the turbine house. The arrangement of the intake weir(s), pipeline and residual flow structure must ensure that the required value(s) of residual flow are reliably discharged at all stages of river flow.

A typical structure for a high head site utilises a residual flow weir across the watercourse downstream of the intake point, incorporating a low notch designed to pass the minimum low flow requirement; i.e. before any water can be abstracted into the turbine.  Abstraction is by means of a long intake weir set at the same level as the residual flow weir. The relative lengths of the two weirs are used to control the proportion of the total flow that may be abstracted at any flow stage. The intake weir may be of a compound structure to reflect steps in the control rules as the river flow changes. In this way the intake provides the physical basis for the control of abstraction as stipulated in the licence. A further advantage of a well-designed intake structure is that changes in flow regime, which can have adverse effects on ecology, tend to be smoothed out.

It may be useful to agree an “outline” design for the intake structure at an early stage of discussions with the developer, i.e. if the exact requirements for residual flows have not yet been finalised pending the outcome of further environmental investigations. However, before the licence is issued the final construction details should be agreed. It is good practice to include the agreed drawing as part of the licence. Measurement of the residual flow can be expensive; think carefully about cost-effective options which would achieve the required outcome.

6.10.3	Controls

Many hydropower installations are located at sites which are unattended for long periods.  The developer must therefore be able to satisfy the Agency that the control system for the abstraction will not only meet the licence conditions, but also will ensure that there will be no adverse effects on flow in the watercourse in the event of a machinery or control failure. The construction design should ensure that it is self-regulating and failsafe.

6.11	Charges

In accordance with the Agency’s Abstraction Charges, a fee is payable when applying for a licence to impound and/or abstract water for hydropower purposes.  However there is no annual charge, provided the scheme generates not more than 5 Megawatts.

6.12	Effects on Agency hydrometric installations

If development proposals will have an impact on existing Agency level recording, flow measurement, or other installations, the developer will have to fund all necessary alterations to ensure their continuous and effective operation.  If alterations are not practicable, this may be ground for refusing the application for a licence.

  - Use of large reservoirs for hydropower generation

The substantial heads created by impoundments, predominantly at public water supply reservoirs, are a potential source of significant amounts of hydropower energy. A number of installations have been established in recent years, often under NFFO contracts.

In the case of public water supply reservoirs, generation of hydropower is usually a secondary purpose to that of water supply and/or the release of compensation water Existing reservoirs will usually have been authorised many years ago by Water Acts and Orders and abstraction and/or impounding licences may have been issued if use of the structure post dates  circa 1963.

Proposals for hydropower installations generally fall into one of the following broad categories:-

- turbine installed in the existing raw water supply pipe;

- turbine installed in the existing compensation or augmentation water discharge pipe;

- a purpose built installation incorporated within the impoundment;

- a separate abstraction from the reservoir to operate a bank-side turbine, with the water discharged back to the downstream watercourse;

- a separate abstraction as above, but with the water discharged to another catchment.

The use of a reservoir for hydropower generation can potentially have significant implications in terms of the overall management of the resources of the reservoir. For each proposed scheme, careful consideration therefore needs to be given to requirements for abstraction and impounding licences and relevant works agreements.

6.13.1 Section 20 Arrangements

Under Section 20 WRA1991, the Agency has a duty (so far as reasonably practicable) to enter into and maintain arrangements with water undertakers to secure the proper management or operation of their sources of supply, including reservoirs

In addition to licensing, the negotiation of such arrangements may be a useful way of securing additional control upon the operation of hydropower schemes using large reservoirs. If operated under the control of a water undertaking, Section 20 Agreements are likely to be preferred rather than  Section 158 agreements, the latter being appropriate in respect of other privately operated reservoirs.

For further guidance on Section 20 arrangements, see Chapter 8 of the Licensing Manual.

7.	WATER QUALITY CONSIDERATIONS

The Agency's water quality function has the prime objective of achieving a continuing improvement in the quality of rivers, estuaries and coastal waters through the control of pollution.  This is also important in relation to other Agency aims: for example, its conservation duties, its duties in relation to fisheries, and the need to achieve standards of water quality that are commensurate with the needs of abstractors.

Hydropower schemes can affect water quality in several different ways, both directly and indirectly.  These potential impacts are very site specific.  In view of the complex issues involved they need identifying at an early stage, preferably before submission of planning and licence applications.

7.1		Areas of concern

As water quality effects can be very site specific, proposals require individual assessment.  In general, the most likely areas of concern will be:

- effects on water quality classification and compliance with water quality objectives based on statutory requirements, for example EC Directives, and the Surface Waters (Rivers Ecosystem) (Classification) Regulations 1994;

- effects on existing effluent discharges into the affected river reach.  These may include reduced available dilution for sewage works discharges, and effects of modified flow patterns on the impact of storm sewage overflows;

- implications for other possible or proposed developments, such as future water company investment programmes;

- effects on the quality of water to be abstracted for water supply and other uses, such as fish farms, industrial and agricultural abstractions;

- effects of changes in suspended solids - for example, impact on fish spawning areas (siltation), visual amenity, and light penetration;

- water quality implications where water will be transferred between rivers, including transfer of pollutants and changes in water quality that will affect the ecology of the recipient river;

- changes in flow regime which may affect water quality indirectly, such as enhanced algal growth or siltation;

- changes in water temperature, such as caused by discharge of cold bottom water from impoundments;

- effects of operational practices associated with the hydropower development.  These may include discharges from pipe/tunnel cleaning and the use of biocides and anti-fouling preparations.

Finally, a responsibly operated hydropower scheme may bring some benefit to water quality, through increased oxygenation and removal of trash.

7.2		Control and regulation

Many of the concerns outlined above result from physical flow diversion and alterations to flow patterns.  Water quality legislation is not designed for these problems.  Usually the best way of preventing adverse water quality impacts will be for Agency water quality staff to make an effective input into the impoundment and/or abstraction licensing process and local authority planning consultation.

Note however that diversion of surface water from a natural channel into an artificial channel, pipe or tunnel (i.e. as will often occur in hydropower schemes) still means the water is protected under the pollution legislation.  The following sections discuss these controls.

7.3		The legal controls

The Environment Act 1995 carries forward the consenting provisions of the WRA 1991 forward into the Agency. Sections 85 and 90 WRA 1991 are the relevant parts of the water quality legislation.

7.3.1	Section 85

This makes it an offence to pollute controlled waters and (in effect) requires a discharge consent from the Agency where polluting matter, trade effluent or sewage effluent may enter or be discharged into controlled waters.

The Agency's view is that the mere presence of a hydroelectric turbine does not turn discharge from a generating plant into a trade effluent.  In principle the situation is no different from the use of waterwheels in natural or artificial watercourses.  The discharge is also not sewage effluent, obviously.

However, although a hydropower scheme therefore does not, in principle, require a consent to discharge, it may still result in contraventions of s.85, because-

- Effluents arising from maintenance operations are trade effluents and will require a consent to discharge.  They include periodic removal of deposits and accretions on the walls of pipes and tunnels, and the application of protective coatings.  These discharges are especially likely on high-head schemes where head loss is critical to generating efficiency.

- Substances may find their way, under normal operating conditions, into the water.  These include biocides and other anti-fouling/protective compounds, oils and grease on the turbines and other parts of the plant, including pipes and tunnels.

It is therefore important for a developer to consider, at the design stage and in discussion with the Agency, what collection, treatment and disposal facilities may be necessary to cope with these potential pollutants.  Note that the quantities may be very small. He may wish to apply for a discharge consent to protect himself against prosecution by applying for a consent under s.88(1) and Schedule 10 to WRA 1991.  The Agency will consider whether it can grant such a consent, and if so what conditions should attach.

7.3.2	Section 90

This section is designed, in this context, to prevent scouring from releases of water.  Without the Agency's consent, it is an offence to "remove from any part of the bottom, channel or bed of any inland freshwaters a deposit accumulated by reason of any dam, weir or sluice holding back the waters" and to do so "by causing the deposit to be carried away in suspension in the waters".

There is no prescribed consenting process comparable to the requirements for ordinary discharge consents.  For one-off releases which may result in the prohibited scouring action occurring, operators would normally write to the Agency and request permission, which would be given by letter.  In regular or more complex situations, it may be appropriate to issue a more formal and structured document, similar to a discharge consent.

Careful forethought at the design stage can usually control the effects of scouring.

7.4		Operation of these controls in practice

7.4.1	Biocides etc.

General use of biocides and toxic protective coatings that leach into the waterbody is unlikely to be justified, due to downstream uses that may be affected and general environmental considerations.  The Agency will therefore always be reluctant to grant consents for discharge of these substances.

7.4.2	Maintenance

Many schemes will need cleaning and painting.  High-head schemes especially can suffer from head loss from biologically mediated deposition on pipe and tunnel walls, as well as corrosion and scouring, all resulting in significant reductions in generating efficiency.

Operators will therefore probably require consents to discharge in due course.  So it is advisable for them to consider this need and any collection, treatment and disposal facilities needed at the design stage.

7.4.3	Scour releases

As mentioned above, this problem too should be considered at the design stage.  If the developer or the Agency foresees problems which design cannot overcome, then a continuing (i.e. as opposed to one-off) consent under s.90 will be appropriate.

7.5		Further information

The Agency has many publications which deal with water quality issues.  This is a constant focus of Agency research and development (R&D) efforts.  A convenient first point of reference is the internal guidance document The Agency Programme for the Monitoring of Water Quality.  This gives details of the water quality criteria required to meet statutory obligations and water quality classification (GQA scheme).  For information on R&D outputs, the Agency R&D co-ordinator will have full information.  The Discharge Consents Manual Volumes 024A and 024B covers general consents issues and is a controlled document.

- FISHERIES CONSIDERATIONS

Regulation of fisheries under the Environment Act 1995 (or Salmon and Freshwater Fisheries Act (SAFFA) 1975 as amended by the EA 1995), WRA 1991, SAFFA 1975 and other legislation is one of the Agency's core functions.  Hydropower schemes can potentially disrupt fisheries.  So, preventing, minimising or mitigating this is a key part of the design of schemes.

  - Impacts on fish populations

The hydropower developer must either be able to demonstrate the lack of impact of the operation of the scheme on the fish population, or else, after demonstrating impact, provide suitable mitigative measures. Clearly the risks are likely to be much more serious for major migratory (diadromous) species like salmon, sea trout, eels and shad, however, they can potentially be significant for non-migratory (potadromous) trout and coarse fish species as well.

A distinction can be drawn between new impoundments and existing impoundments. Generally the Agency will most often be dealing with proposals to retro-fit generating equipment to existing low-head impounding structures. In this case the potential effects on the fish are generally limited to phases of their life-cycle where they are migrating, whereas in the case of new impoundments there are potential effects on habitat diversity and quality as well.

In the case of existing impoundments risks include:

- disruption of upstream migration (adult migratory salmonids, trout, coarse fish, adult lamprey and shad; juvenile eels), involving prevention of, delay of, or reduction in efficiency of, passage over the structure including any existing fish pass;

- damage or mortality of downstream migration (juvenile migratory salmonids, trout, coarse fish and shad; adult migratory salmonid kelts, juvenile lamprey and eels).

- Modification of habitats through changes in discharge regime.

These may be through physical risks: eg turbine blade strike, cavitation, or risk of modified behaviour: eg attraction to turbine discharge, subtle changes in flow regime. In these cases assessment methods are likely to include trapping and tracking, and possibly broader population studies.

In the case of new impoundments (or raising of existing impoundment levels), or alternatively those involving a major diversion and long length of river between intake and return point, then there are likely to be significant other risks in addition to those above. These could include:

- habitat degradation through loss of diversity

- major changes in flow variability

- water quality changes

- increased predation of migrators

- loss of orientation of migrators

Assessment methods are much more likely to include detailed and quantitative studies of fish population dynamics in addition to the type of studies above. They might also include the use of habitat simulation and prediction models, such as PHABSIM. In addition some consideration may need to be given to sociological changes, for example the potential effects of altered flow regimes on angling opportunity.

Whatever pre-appraisal studies are or are not required it is important that the developer should be required to carry out (if necessary) post-appraisal studies to demonstrate either a negligible effect or else that any mitigative measures are as successful as proposed4. In the event that mitigation cannot be wholly accomplished, or that it fails to be as successful as proposed, then arrangements may need to be considered for compensation for any long-term damage caused by the scheme.

8.2 	Catchment diversion

Where the scheme involves diversion of water from one catchment to another, there will be major issues relating to the basic ecology of the fish. Physical and chemical changes to water quality, changes in water quantities and flow regimes may have significant effects upon the fish habitats, the fish themselves and their behaviour in both the receiving and donating watercourses. In the case of migratory salmonids, which use smell to home to their natal river system for spawning, diversion may affect this homing ability and potentially the size of the stock.

8.3 	Minimum flows

For any fish, but particularly for salmonids, flow reduction and flow variability may impact all life stages, from egg to adult, since each life stage has its own specific requirements.  Many people think that the ecology of a stream can be protected provided there is a 95%ile flow (i.e. the flow which is exceeded for 95% of the time).  This is a dangerous and unproven assumption and a preferred approach might be to use an Incremental Flow Model. However, as yet there are no accepted techniques for this for either salmonids or coarse fish. Refer to the Salmanoid Fisheries Science Group, and Coarse Fisheries Science Group for advice on best current practice.

8.4 	Upstream fish passage

The need for upstream passage of major migrators like salmon, sea trout, eel, lamprey and shad to reach spawning areas is well known. The need for brown trout and some other freshwater species to do the same is also fairly well appreciated. It should be borne in mind that many of the local indigenous potadromous (wholly freshwater) species may make local migrations for a variety of other reasons, e.g. including feeding, shelter, following displacement. However the most important group will be the major migrators. Considerations will usually focus around the effects of the turbines, and any changes which their operation will cause to the local flow patterns and variability, for example they may attract fish away from an existing fish pass or area where they previously found passage.

8.4.1 	Fish passes for migratory fish

Where a hydropower scheme is in any waters frequented by salmon or migratory trout, and creates or increases obstruction to the passage of such fish, the Agency can formally require the developer to install a suitable fish pass.  The need for this will, in practice, be at the discretion of the regional Agency’s fisheries function. The fish pass needs to be of such form and dimensions as will meet with the approval of the Agency. It is an offence for the owner or occupier of the installation not to make such a fish pass, or not to maintain it in an efficient state, if required to do so by the Agency.

8.4.2	Fish Passes for non-migratory trout, coarse fish and eels

The fish pass provisions of the SAFFA 1975 only apply to salmon or migratory trout. However, fish passes for other species can be required using the more general passes under the Land Drainage and Water Resources Acts 1991. Where a fish pass is necessary to protect non-migratory trout, coarse fish, eels or diadromous species such as shad, the best approach is to make it a condition of the impounding and/or abstraction licence that a suitable fish pass is installed.

8.4.3 	Fish pass design

Advice on fish pass design can be sought from the Agency National Fish Passage Panel (NFPP).

8.5 	Downstream fish passage

Again the need for downstream migration of the major migrators is well known. However it is becoming increasingly clear that there are important migrations of juvenile coarse fish in their first summer, and possibly also as pinhead fry and fish between one and two years old. Attention will focus on measures to prevent the damage or mortality of fish passing through the turbines, where high mortalities (>50% of smolts for example) can occur.

8.5.1 	Screens for migratory salmonids

Where a hydropower scheme is in any waters frequented by salmon or migratory trout the developer is obliged to install screens that prevents their descent into the turbines, and is constructed and located to ensure, so far as is reasonably practicable, that they are not injured or damaged by it5. In any case screening can be required as part of any new abstraction licence under the general powers of the WRA1991.

    - Screen design

Advice on screen design can be sought from the Agency NFPP.

    - Screens for non-migratory trout, coarse fish, eel, lamprey and shad

Screens should be required as part of any new abstraction licence under the general powers of the WRA1991. The developer can also be made aware of Section 2(2) SAFFA 1975, which make it an offence knowingly to kill or injure immature freshwater fish.

8.5.4 	Types of screen

There is a range of different screens available including both physical and behavioural ones. Physical screens are capable of being configured in such a way that they can completely exclude fish or even their eggs. Behavioural screens cannot be expected to achieve 100% efficiency, but are often likely to be the most cost-effective solution.

Useful references include Solomon, Turnpenny, and the Agency Section 14 training material:-

Solomon Dr D J.

Diversion and Entrapment of Fish at Water Intakes and Outfalls. R & D Report No. 1. National Rivers Authority 1992.

Turnpenny AWH, Struthers G, & Hanson P.

A UK Guide to Intake Screening Regulations, Policy and Best Practice with Particular Reference to Hydroelectric Power Schemes. ETSU Report H/06/00052/REP. 998.

Environment Agency SAFFA Section.14 Training Course, May 1997.

9.	FLOOD DEFENCE CONSIDERATIONS

The modern approach towards river management is to move away from heavy engineering and canalization towards restoring more natural rivers with soft engineering techniques.  Hydropower developments, particularly the recent increase in low-head proposals, tend to work against this objective.

The Agency's flood defence function becomes involved in hydropower developments for two reasons:

- as part of its general responsibility for river management, it is there to ensure that proposals are not detrimental to the river, either locally, or to the river system as a whole;

- where proposed works affect a main river and require a consent under s.109 WRA 1991 or an ordinary watercourse under s.23 Land Drainage Act 1991.  In the latter case the Agency or the relevant Internal Drainage Board may be the responsible body.

9.1		Design of hydropower works

The Agency evaluates structures and works proposed for hydropower installations as it does any other similar river works.  However, some aspects do require special consideration.   High-head proposals (greater than 20m head) tend to pose fewer problems for flood defence.

9.1.1	Development within flood plain areas

The Agency's policy of no building within flood risk areas may be relaxed in appropriate situations because the very nature of hydropower requires structures in and adjacent to watercourses.  However, impact must be minimised, and therefore-

- size of buildings must be the minimum necessary to house equipment;

- plant must be selected with due regard to size;

- the location, orientation and level of buildings and other structures must create minimum obstruction to both in-channel and flood flows. Optimum arrangement may require modeling;

- the developer must compensate for any adverse effects such as obstructions to flow and infilling in the flood plain.  He may achieve this, for example, by providing additional channel flow capacity, flood plain flow capacity, or flood plain compensatory storage on a level for level basis.

9.1.2	Use of existing sites

A low-head scheme, involving, for example, renovation of an old mill site with an existing "fall" and a building to house equipment, is unlikely to be of much concern to flood defence.  However, there must still be a check to make sure it will not prejudice the scope for future flood defence or land drainage improvement schemes.  The presence of an operating, licensed hydropower installation will constrain options for future improvements.

9.1.3	New sites or modifications to existing sites

The Agency will treat works for a hydropower proposal as it will any other proposed structure or works in a watercourse.  However, these schemes do make for several areas of potential conflict with flood defence policies, and particular attention is required to the following:

- there must be no overall reduction of channel capacity;

- obstruction of flood flows and any reduction of flood plain storage must be fully compensated for;

- there must be no detriment to land drainage as a result of raising water levels;

- there must be no impact on water level recording and flow measurement installations;

- any deepening of the channel downstream to add to available head must have due regard for conservation, recreation, landscape and fisheries impacts, as well as stability of banks and structures.  Similarly, siltation processes may change if bed gradients alter and this aspect must be considered too;

- proposals must not prejudice scope for future flood defence or land drainage improvements.

Modelling may help optimise design and overcome possible impacts.

10.	CONSERVATION CONSIDERATIONS

All hydropower proposals need environmental assessment, although in some cases this may be minimal.  This is a general concern, cutting across all functions.  However assessment of impact will particularly involve the Agency's conservation function.  So, pointers to assist with EIA are provided here (see also Section 5). Ask for no more than you need to help with the determination of the proposal.

10.1	Likely environmental impacts

10.1.1	Low-head schemes

These are usually on large rivers with high flows and use existing structures (e.g. weirs) for head.  Likely impacts will include:-

- bed scouring and changes in gravel/silt shoals;

- changes to flow patterns and velocities;

- disturbance to marginal and bank vegetation;

- bank revetment (sheet piling etc.);

- raising upstream water levels if weir height increased;

- lowering of upstream levels when the turbines are operating at full capacity causing a pull down effect;

- general loss of habitat, and habit disturbance during construction and loss of habitat structure such as bankside trees and in channel gravel shoals;

- general loss of habitat, tree felling, bank loss, grassland disturbance etc.

10.1.2	High-head schemes

These are generally on small upland watercourses.  There will usually be a small impounding structure with pipework to take excess flows.  Likely impacts will include:-

- normal winter high flows reduced or lost;

- possible changes in humidity conditions with effects on bryophytes and other moisture dependent plants (e.g. from reduction in spray generated over waterfalls);

- habitat reduction and knock-on effects (e.g. drying up adjacent upland marsh and loss of, or changes to, its invertebrate and other communities, loss of food sources for fish and birds etc.).

10.1.3	Schemes located in environmentally sensitive areas

Occasionally either type of scheme will be located in a National Park, Special Area for Conservation and Special Protection Area (under the Habitats and Birds Directive), Site of Special Scientific Interest (SSSI), Area of Outstanding Natural Beauty or other designation relating to special interest land or water e.g. RAMSAR, SPAs, and SSSIs require statutory consultation under Habitats and Birds Directive and CROW Act.  It is essential that the appropriate organisation is consulted at an early stage to ensure protection to important sites.

10.2		Mitigation

It is important that mitigation measures are considered in detail before proposals receive the go-ahead i.e. with planning consent and grant of necessary licences.  Such measures may include re-creation of lost habitats, shallow riffles, shoals, trees, and bankside and marginal vegetation and/or provision of a fish pass.

10.3		Surveys

Key to environmental appraisal is good base-line data: "what is there now that will be affected?".  The developer will need to do surveys, which he should carry out according to the guidelines described below.  The level of detail and matters to concentrate on will differ from site to site and will be matters for the Agency and developer to agree in order to ensure that local Biodiversity Action Plans are considered..  The Agency's Review of Nature Conservation Survey Methodologies describes these in more detail.  Essentially, it is necessary to have information about the following topics:-

10.3.1	General watercourse character

River corridor surveys should follow the Agency's Conservation Technical Handbook 1. In addition, a River Habitat Survey should be undertaken and used to compare the watercourse with the national database. This will enable appropriate habitat creation to be undertaken.

10.3.2	All flora, including wet grasslands and woods of the riparian zone and wider river corridor

All surveys should follow English Nature Guidelines and should classify and map all habitat types based on vegetation, physical and substrate features.

10.3.3	 Vegetation and animal species and communities

This, the Phase 2 vegetation survey, is more detailed, classifying vegetation types with full species lists.

10.3.4	Ditches and dykes

Ditch surveys should be based on methods described by Alcock and Palmer.  The survey should record information about species on the DAFOR scale as well as give information about physical features and management.

10.3.5	Trees

Tree surveys should involve a detailed plan showing the species, girth, age, height, location, canopy cover, and general condition of each tree.

10.3.6	Invertebrates

The Joint Nature Conservation Committee maintain an Invertebrate Site register.  There is a report for each county, normally held at the county's Biological Records Centre.  This is a useful guide for important areas and target species.

Native Whiteclawed Crayfish are under threat from other species and habitat loss. Special care should be taken to preserve any communities found to be present.

Aquatic invertebrate sampling, particularly in running water, is usually carried out by a standard three minute kick sample.  Other techniques include nets, grabs, dredges, cores, etc.  Terrestrial invertebrates found in the shingle, shoal riparian areas can be sampled using pitfall traps.

10.3.7	Birds

Bird surveys require a minimum of 3 km river visited 9-10 times during the breeding season, and overwintering sites if appropriate.

10.3.8	Mammals

Mammal surveys for protected species must be carried out, i.e. otters, water voles, badgers  and bats. Consultation with the County Mammal Recorder should be undertaken before surveys commence.

10.3.9	Amphibians and reptiles

There are six British amphibians in inland waters: common frog, common toad, natterjack toad, smooth newt, palmate newt, great-crested newt.  Surveys should take place in the spawning period.

Assessment of reptile numbers should be based on sightings.  The British reptiles are: grass snake, adder, smooth snake, common lizard and slow worm.

10.3.10		Fish

Fish survey information should be collected. This can often be found within the Agency. The loss of any habitat for fish, especially spawning areas, will require careful consideration and a fish pass may be required to facilitate movements of fish.

10.4		Archaeology

The developer should always consult the county archaeologist in case the proposal will affect sites of archaeological value.

The county archaeologist will also advise about the likely extent of unknown sites.  Continual monitoring of excavation works may be appropriate.  The developer may need to employ an archaeologist to appraise sites and recommend mitigation works.

10.5		Landscape

For reference, see Agency Technical Note 2 on landscape assessment.  The Institute of Environmental Assessment in conjunction with the Landscape Institute is (1995) publishing Guidelines for landscape and visual impact assessment.  The developer should consult the local authority for advice on constraints and opportunities.

10.6	Monitoring

Environmental assessment should not be seen as a "snapshot".  Developers should have a monitoring programme, which will update baseline surveys and record changes over 1, 2 and 5 years.  On upland sites, there should be a further survey after 10 years.  This may be incorporated in a s.158 agreement.

10.7		Consultees

Usually, the Agency will consult with the following bodies over hydropower proposals:-

- Countryside Council for Wales

- English Nature

- Countryside Agency

- Council for the Preservation of Rural England

- Council for the Preservation of Rural Wales

- County wildlife trusts

- Royal Society for the Protection of Birds

- County ecologists

- Local planning authorities

- English Heritage (where listed structures and Scheduled Ancient Monuments are involved); CADW in Wales

- County Archaeologists

11.	RECREATION CONSIDERATIONS

Hydropower schemes can both disrupt recreation and create new opportunities for it.  What might happen as a result of any given scheme will depend on the exact circumstances: effects vary greatly.  Schemes may affect more than just water-based recreation, such as public access and visual amenity.

On upland streams, fishermen, walkers and climbers will usually be most affected.  There are usually more recreational users on low-head sites so effects may be more pronounced.

11.1	Angling

Changes in flow direction across the channel, bankside disturbance and necessary revetment (e.g. sheet piling) can all affect angling, sometimes resulting in an inability to fish at all.  The developer will need to mitigate to ensure angling is accommodated wherever possible and will need to discuss with the owner or angling club compensation measures for loss of fishing.

11.2	Public rights of way

The development may divert these (temporarily or permanently).  The developer should consult with the county council Footpath Officer, who deals with footpath diversions and new footpaths.

There may also be safety issues.  For example, if the right of way passes steep drops, safety railings may be necessary.

Concerns about public rights of way may partly depend on the location of the works, for example, whether they are close to an urban area, whether children are likely to play near them, etc.

11.3	Navigation

Where a watercourse is used for navigation consultations should take place with the navigation authority and boat users.

- boating may be affected by changes in flow direction across the channel eg sailing or rowing;

- consideration should be given to the use of any white water created by canoeists, providing always that it is safe to do so;

- cruisers may experience difficulties in accessing locks where these are adjacent to weirs being used for schemes.

11.4	Local plans

Local Plans or other development etc. plans for the area or region may be relevant to recreational issues.

11.5	Consultees

For local plans etc., the local planning authority will have information.

Other consultees will include (as appropriate)

- Local angling clubs

- National Federation of Anglers

- Local sailing, boating, canoeing, rowing clubs

- Local marinas

- Royal Yachting Association

- British Canoe Union

- British Waterways Board

- Inland Waterways Association

- Amateur Rowing Association

- British Water Ski Federation

- Sports Council

- Ramblers Association

11.6	Monitoring

As with environmental impacts, it helps to monitor the effects on recreation.  There are no set standards for this, but there should be occasional surveys to assess trends in use.  It is also important to consider whether there have been any safety problems.  As with environmental monitoring, these should also be built in as appropriate into s.158 agreements.

APPENDIX A

GUIDANCE TO APPLICANTS ON ENVIRONMENTAL INFORMATION REQUIRED

NOTE:  Freestanding copies of this should be available at Area offices as a handout to potential licence applicants.

The Agency is responsible for the management and protection of all aspects of the water environment.  It has a duty to give full consideration to the range of potential impacts that may arise from hydropower development.  Some of these effects may be significant.

Developers must therefore provide adequate technical and environmental information to enable the Agency to assess hydropower proposals in terms of effects on water resources, fisheries, conservation, recreation, water quality, flood defence and navigation.  The Agency will seek an environmental assessment in order to determine the application.

This note gives a check list of topics which it may be necessary to cover in such a report and is intended to assist developers in providing the environmental assessment required by the Agency.  The scope of the report required in each case will need to be agreed with the Agency beforehand.  Developers should contact the appropriate Agency Area office at an early stage in order to discuss proposals and to receive guidance regarding environmental information requirements.  Lack of information may result in delays or refusal of applications.  The Agency will seek the minimum amount of information necessary to determine the application and in some cases a brief report may be adequate.

The Agency may be able to assist by providing environmental information which it holds, for example river flow data.  A charge may be payable for this.

Developers should also contact the Planning Authority to discuss its requirements (if any) for environmental information.  These may include aspects of the proposals which are not of direct concern to the Agency.

Format of Environmental Information

The Agency will advise developers on scoping of the assessment. This will depend on matters such as the size of the scheme, location of the site, and requirements of the planning authority.  We recommend that environmental reports are prepared in accordance with good practice for environmental assessment methodology.  The following general topics should be considered-

•	Description of the project

•	Description of the site and its environment

•	Hydrological information

•	Assessment of the effects of structures, abstractions and discharges

•	Proposed mitigating measures

•	Risks of accidents and hazardous development

•	Environmental action programme

Scope of Environmental Information

The following list sets out the main areas of impact that need to be considered and the potential scope of required information.  What is required in a particular case should be agreed beforehand with the Agency.

Hydrological Information

The most significant impacts of hydropower schemes arise from the change of flow regime resulting from abstraction and/or impounding of water.  In order to assess potential effects on the water environment, the following types of information relating to flow may be required, including-

•	Catchment hydrology: average rainfall, losses, run-off

•	Hydrometric data, where available

•	Flow duration curve, mean flows, dry weather flows

•	Seasonal variation in flows

•	Assessment of monthly overspills

•	Reduction in downstream levels

•	Residual flows downstream of intake needed to safeguard river interests

In considering applications, the Agency will need to ensure that river interests are safeguarded during periods of low flow and that any changes in the higher flow regime are within acceptable limits. Accordingly, licences may include conditions which restrict or prohibit operations under certain flow conditions.

Structural details

•	Design of intake and discharge structures

•	Impoundment details

•	Proposed measurement, recording and control arrangements

Water Resources

•	Survey of existing uses of resources:

(	within the upstream catchment

(	between the abstraction and discharge points

•	Assessment of the effect of the proposal on abstraction rights

•	Assessment of the effect on gauging sites and flow measuring structures

Fisheries

•	Impact on movement of fish

•	Impact on migration of fish

•	Provision of satisfactory fish passes where fish movement/migration is likely to be impeded

•	Quantitative assessment of the loss of fish habitat, including spawning/nursery habitat and predicted impact on fish populations

•	Impact of flow changes, including spate reductions, on fish populations between abstraction and discharge points

•	Impact of changes in flow regime and water quality on fish populations downstream of discharge points

•	Adequacy of screening of intakes and outfall and provision of bypass channels to minimise ingress of fish and the likelihood of fish passage through turbines

•	Timing of construction works with regard to spawning/migrating fish

Conservation

Impacts on flora and fauna-

- Effects of changed flow regimes on habitats and species

- All flora, protected species, habitat structure

- Effects on protected sites SACs,SPAs,SSSIs,RAMSAR etc.

- Effects on trees including life expectancy

- Effects on terrestrial and aquatic invertebrates

- Effects on breeding or overwintering bird habitats

- Effects on mammals eg otters, water voles, bats and badgers

- Effects on amphibians especially breeding sites.

Note – all surveys for the above should be undertaken during the appropriate season

Landscape survey-

•	Landscape assessment and character

•	Geomorphological survey

•	Survey covering geological, palaeontological and physiographic features

Survey of historical features-

•	Listed buildings and structures

•	Planning conservation areas

•	Scheduled ancient monuments and Sites and Monuments Register

Recreation

Impacts on recreation and public access – surveys should cover-

- Water rights, access, moorings and slipways

- Common rights

- Public rights of way

- Canoe access

- Angling, fishing pegs and access

- Public access and safety

Navigation

•	Survey of navigation rights

•	Measures proposed to safeguard navigation

Water Quality

•	Assessment of the effect on existing effluent discharges into any affected reach

•	Effects on river classification, statutory water quality objectives, river classification and Environmental Quality Standard compliance

•	Implications for proposed developments

•	Implications for quality of water supply

•	Sediment/suspended solid changes

•	Inter-river transfers  crop or fish disease transfer, species transfer, pollution transfer

•	Control measures for use of biocides and anti-fouling preparations

•	Effect of changes in flow regime on algal growth

•	Effect of changes in flow regime on siltation

•	Temperature changes

Flood Defence

•	Effect of structures on channel capacity, flood plain and flooding problems

•	Effect of variation in water levels on land drainage

•	Channel alterations, bank stability, scour and deposition

•	Impact on existing structures adjacent to the river channel

•	Impact of changes in flow due to operation

•	Provisions for "fail safe" operations to protect minimum upstream water levels

•	Formal agreements regarding method of operation/water level management

•	Compliance with local Land Drainage byelaws

Environmental Monitoring

Where uncertainties exist regarding impact upon the water environment, proposals should include provision for the developer to undertake a continuing environmental monitoring programme.

GLOSSARY OF TERMS

Abstraction 	The removal of water from any sources, either permanently or temporarily.

Abstraction Licence	The authorisation granted by the Environment Agency to allow the removal of water from a source.

Compensation	The minimum flow legally required to be released to the watercourse below an intake, dam, or weir, to ensure adequate flow downstream for environmental, abstraction or fisheries purposes.

Derogation	The abstraction of water, or obstruction of flow of any such waters, which prevents a person a person entitled to a protected right from abstracting water to the extent authorised on their licence.

ETSU		Energy Technology Support Unit, DTI, involved in the promotion of renewable energy technology.

Fish Ladder (or Fish Pass)	A structure consisting of a series of overflow weirs which are arranged in steps that rise about 30cms in 3 to 4m horizontally, and serve as a means for allowing migrant fish to travel upstream past a dam or weir.

Flow Duration Curve	A graph showing the percentage of time that the flow at a particular gauging station equals or exceeds certain values.

Gauging Station	A site where the flow of a river is measured.

Hydrometry	The measurement of water in the environment.

Impoundment	A dam, weir or other work constructed in an inland water, whereby flows are obstructed or impeded, or water levels are raised above their natural position, and any works for diverting flows in an inland water associated with the construction of a dam, weir or other work.

Impoundment Licence	The authorisation granted by the Environment Agency to allow the obstruction or impeding the flow of water.

Installed Capacity	The total maximum capacity of the generating units in a hydropower plant.

Leat		An open channel that conveys water at a shallow gradient from a river channel where sufficient head has been gained for a turbine to be installed. (Also sometimes called Goit or Contour Canal).

NFFO		Non fossil fuel obligation levy was incorporated into the 1989 Energy Act to maintain diversity in the electricity supply system, and ensure that renewable energy can receive a premium price for the power they generate.

NRA		National Rivers Authority, now incorporated within the Environment Agency.

Protected Right	An existing right to abstract that is protected from derogation by the granting of a new licence (unless the holder of the right gives consent to such derogation). Protected rights include all existing licensed abstractions, and certain exempt abstractions for domestic and agricultural purposes (excluding spray irrigation) not exceeding 20m3/day.

Output		The amount of power (or energy depending on definition) delivered from a piece of equipment, station or system.

Penstock		A pipe (usually steel, concrete or cast iron and occasionally plastic) that conveys water under pressure from intake to turbine.

Sluice Gates	A vertical shaft slide gate, which can be operated either manually or by electric motors (there are other types).

Tailrace		The discharge channel from a turbine or waterwheel before rejoining the main river channel.

Tranche		A term used in the NFFO to describe a batch of tenders.

Turbine		Converts the speed of flowing water into rotational energy.

Weir		A low dam which is designed to provide sufficient upstream depth for a water intake while allowing flow to pass over it crest.

Acronym

SSSI		Site of Special Scientific Interest.

SPA		Special Protection Area.

SAC		Special Area of Conservation.

RAMSAR		International Convention on Wetlands.

EIA		Environmental Impact Assessment.

LPA		Local Planning Authority.

DTI		The Department Of Trade and Industry.

BHA		British Hydropower Association.

LDA				        Local Development Agency.

# Footnotes

Environment Agency Water Quality Strategy.

General Quality Assessment (GQA) Scheme.

75/440/EEC (surface water abstracted for potable supply), 78/659/EEC (freshwater fisheries); 76/464/EEC (dangerous substances) and its daughter directives; 91/71/EEC (urban waste water treatment - sensitive areas); 91/676/EEC (nitrates).

SI 1994 No. 1057.

It is still a controlled water as it would be a "relevant river or watercourse" as defined by s.104 WRA 1991.

Such polluting matter could potentially fall within s.85(1) (general prohibition against discharging polluting matter into controlled waters) or s.85(3) (trade effluent).  However this makes no difference to the need for a consent.

i.e. as provided by Schedule 10 WRA 1991.

NRA 1994.

Environment Agency, Discharge Consents Manual Volumes 024A and 024B

Section 114 WRA 1991 provides:  "It shall be the duty of the Authority to maintain, improve and develop salmon fisheries, trout fisheries, freshwater fisheries and eel fisheries".

See s.9 SFFA 1975 as amended by Schedule 15, Environment Act 1995.

National Fish Pass Officer, EA Wales, Llys Afon, Hawthorn Rise, Haverford West, Pembs, SA61 2BQ

R&D note 107.

Phase 1 Habitat Survey (Nature Conservancy Council 1990).

National Vegetation Classification.

1985.

Ie. Dominant, Abundant, Frequent, Occasional, Rare.

The Joint Committee for the Conservation of British Invertebrates issues guidelines on invertebrate surveys.

See Stubbs and Chandler (1978), Cootes (1991).

See British Trust for Ornithology, Waterways Bird Survey (Taylor 1982) and Common Bird Census (Marchant 1983).

Reference: National Otter Survey.

Reference: National Water Vole Survey.

To determine the location of their setts and feeding areas.

Information is available though local bat groups, who also undertake survey work.

Contact the County Council or county Wildlife Trust.